| **Rig: ECDC 5** | **Third Party Inspection Checklist** | **Date: / / 2023** |
| --- | --- | --- |

|  |  |
| --- | --- |
| **Equipment Data** | |
| COMPANY : | S.N **:** |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| NO | Inspection Item | Condition | | | REMARKS |
| Yes | No | N.A |
| **CERTIFICATION** | | | | | |
| 1 | Lifting Certification |  |  |  |  |
| 2 | Electrical Certification |  |  |  |  |
| 3 | Maintenance Record |  |  |  |  |
| **H.S.E :** | | **SIGNATURE**: | | | |
| **MECHNICAL** | | | | | |
| 1 | Emergency stop tested |  |  |  |  |
| 2 | Over speed check tested |  |  |  |  |
| 3 | Oil levels check tested |  |  |  |  |
| 4 | Water cooling check tested |  |  |  |  |
| 5 | Is there hydraulic or pneumatic circuits |  |  |  |  |
| 6 | Is there leakage in hydraulic or pneumatic circuits |  |  |  |  |
| 7 | Fuel lines are resistant and secure |  |  |  |  |
| 8 | Flame / spark arrestor in good condition |  |  |  |  |
| 9 | When starting engine is there a noisy or different voice |  |  |  |  |
| 10 | Appearance and housekeeping of unit is acceptable |  |  |  |  |
| 11 | Machinery guards and second retention in place and effective |  |  |  |  |
| **S.MECHANIC :** | | **SIGNATURE** | | | |
| **ELECTRICL** | | | | | |
| 1 | Equipment suitable for proposed site |  |  |  |  |
| 2 | Is there battery and starting motor |  |  |  |  |
| 3 | Is the battery satisfactory |  |  |  |  |
| 4 | Emergency lighting operational |  |  |  |  |
| 5 | Ground bonding completed |  |  |  |  |
| 6 | Is the cables in good satisfactory |  |  |  |  |
| 7 | Is the electrical cables isolated |  |  |  |  |
| 8 | Fire / gas detection operational |  |  |  |  |
| 9 | Appearance of unit acceptable |  |  |  |  |
| **S.ELECTRICAN:** | | **SIGNATURE:** | | | |

|  |  |
| --- | --- |
| **THIRD PARTY.REPRESTATIVE** | **DATE** |
|  |  |

|  |  |
| --- | --- |
| **QHSE Engineer** | **Rig Manager/STP** |
|  |  |